## From Telecom site 15 Jan 2014
| DP | 3T | Norchard |  |  |  | location | New Mills Crossing | issue date | 2014-01-15
E Sides : These records look back towards the exchange |  |  |  |  | Jumpers |  | D Sides : These records look on towards the distribution network
E side
cable from |  |  |  |  | E Cross | D Cross
MDF or | E side cable | E side cable | E side | E side | Conn. | Conn. | D side | D side | D side cable | Apparatus Details or
D sides | type | Colours | Circuit Details | Pair No. | to | to | Pair No. | Circuit Details | Colours | D side cable to sub DP
D1 | 10 pair cable | b/bk | SPT at Sig Post | E1 | D13 |  | D1 |  | b/w | 10 pair cable
D2 | from DP3S | o/bk | NCD-PKD o/g 1 jnc 1 | E2 | >>>> | <<<< | D2 | NCD-PKD o/g 1 jnc 1 | o/w | to DP3U
D3 | via joint | g/bk | NCD-PKD o/g 2 jnc 2 | E3 | >>>> | <<<< | D3 | NCD-PKD o/g 2 jnc 2 | g/w | ¦
D4 | on | bn/bk | PKD-NCD o/g 1 jnc 3 | E4 | >>>> | <<<< | D4 | PKD-NCD o/g 1 jnc 3 | bn/w | ¦
D5 | sound whistle | s/bk | PKD-NCD o/g 2 jnc 4 | E5 | >>>> | <<<< | D5 | PKD-NCD o/g 2 jnc 4 | s/w | ¦
D6 | board | b/r | 597 Whitecroft | E6 | >>>> | <<<< | D6 | 597 Whitecroft | b/r | ¦
D7 | ¦ | o/r | PKD alarm extension | E7 | >>>> | <<<< | D7 | PKD alarm extension | o/r | ¦
D8 | ¦ | g/r | b wire N12, a wire B12 | E8 | D8/D11 | E8 | D8 | b wire N12, a wire B12 | g/r | ¦
D9 | ¦ | bk/r | b wire (HL)2 GC, a wire TW Q | E9 | D12 |  | D9 | Resvd DP5C Norchard to PKD 2 | bn/r | ¦
D10 | ¦ | c/y | Sig Box NCD to PKD Token | E10 | >>>> | <<<< | D10 | Sig Box NCD to PKD Token | s/r | ¦
[6 empty] | E8 | D11 | b wire N12, a wire B12 |  | 1 pr cable to DP R
[6 empty] | E9 | D12 | b wire (HL)2 GC, a wire TW Q |  | 1 pr cable to DP R
[6 empty] | E1 | D13 | SPT at Sig Post |  | 1 pr cable to SPT
note : This DP has been relabelled from DP5C

## Correct update 21 02 2017
| DP | 3T | Norchard |  |  |  | location | New Mills Crossing | issue date | 2017-02-21
E Sides : These records look back towards the exchange |  |  |  |  | Jumpers |  | D Sides : These records look on towards the distribution network
E side
cable from |  |  |  |  | E Cross | D Cross
MDF or | E side cable | E side cable | E side | E side | Conn. | Conn. | D side | D side | D side cable | Apparatus Details or
D sides | type | Colours | Circuit Details | Pair No. | to | to | Pair No. | Circuit Details | Colours | D side cable to sub DP
D1 | 20 pair cable | b/bk | SPT at Sig Post | E1 | D13 |  | D1 |  | b/w | 10 pair cable
D2 | from DP3S | o/bk | NCD-PKD o/g 1 jnc 1 | E2 | >>>> | <<<< | D2 | NCD-PKD o/g 1 jnc 1 | o/w | to DP3U
D3 | via joint | g/bk | NCD-PKD o/g 2 jnc 2 | E3 | >>>> | <<<< | D3 | NCD-PKD o/g 2 jnc 2 | g/w | ¦
D4 | on | bn/bk | PKD-NCD o/g 1 jnc 3 | E4 | >>>> | <<<< | D4 | PKD-NCD o/g 1 jnc 3 | bn/w | ¦
D5 | sound whistle | s/bk | PKD-NCD o/g 2 jnc 4 | E5 | >>>> | <<<< | D5 | PKD-NCD o/g 2 jnc 4 | s/w | ¦
D6 | board | b/r | 597 Whitecroft Sig Box NCD to PKD Token | E6 | >>>> | <<<< D10 | D6 | 597 Whitecroft Sig Box NCD to PKD Token | b/r | ¦
D7 | ¦ | o/r | PKD alarm extension | E7 | >>>> | <<<< | D7 | PKD alarm extension | o/r | ¦
D8 | ¦ | g/r | b wire N12, a wire B12 | E8 | D8/D11 | E8 | D8 | b wire N12, a wire B12 | g/r | ¦
D9 | ¦ | bk/r | b wire (HL)2 GC, a wire TW Q | E9 | D12 |  | D9 | Resvd DP5C Norchard to PKD 2 | bn/r | ¦
D10 | ¦ | c/y | Sig Box NCD to PKD Token | E10 | >>>> E6 | <<<< | D10 | Sig Box NCD to PKD Token | s/r | ¦
D11 | ¦ |  |  |  |  | E8 | D11 | b wire N12, a wire B12 |  | 1 pr cable to DP R
D12 | ¦ |  |  |  |  | E9 | D12 | b wire (HL)2 GC, a wire TW Q |  | 1 pr cable to DP R
D13 | ¦ |  |  |  |  | E1 | D13 | SPT at Sig Post |  | 1 pr cable to SPT
D14 | ¦
D15 | ¦
D16 | ¦
D17 | ¦
D18 | ¦
D19 | ¦
D20 | ¦
note : This DP has been relabelled from DP5C

## Update 19 07 2017
| DP | 3T | Norchard |  |  |  | location | New Mills Crossing | Issue date | 2017-07-19
E Sides : These records look back towards the exchange |  |  |  |  | Jumpers |  | D Sides : These records look on towards the distribution network
E side
cable from |  |  |  |  | E Cross | D Cross
DP3SA or | E side cable | E side cable | E side | E side | Conn. | Conn. | D side | D side | D side cable | Apparatus Details or
D sides | type | Colours | Circuit Details | Pair No. | to | to | Pair No. | Circuit Details | Colours | D side cable to sub DP
D1 | 20 pair cable | b/bk | SPT at Sig Post | E1 | D13 |  | D1 |  | b/w | 10 pair cable
D2 | from DP3SA | o/bk | NCD-PKD o/g 1 jnc 1 | E2 | >>>> | <<<< | D2 | NCD-PKD o/g 1 jnc 1 | o/w | to DP3U
D3 | via joint | g/bk | NCD-PKD o/g 2 jnc 2 | E3 | >>>> | <<<< | D3 | NCD-PKD o/g 2 jnc 2 | g/w | ¦
D4 | on | bn/bk | PKD-NCD o/g 1 jnc 3 | E4 | >>>> | <<<< | D4 | PKD-NCD o/g 1 jnc 3 | bn/w | ¦
D5 | sound whistle | s/bk | PKD-NCD o/g 2 jnc 4 | E5 | >>>> | <<<< | D5 | PKD-NCD o/g 2 jnc 4 | s/w | ¦
D6 | board | b/r | Sig Box NCD to PKD Token | E6 | >>>> | <<<< | D6 | Sig Box NCD to PKD Token | b/r | ¦
D7 | ¦ | o/r | PKD alarm extension | E7 | >>>> | <<<< | D7 | PKD alarm extension | o/r | ¦
D8 | ¦ | g/r | b wire N12, a wire B12 | E8 | D8/D11 | E8 | D8 | b wire N12, a wire B12 | g/r | ¦
D9 | ¦ | bk/r | b wire (HL)2 GC, a wire TW Q | E9 | D12 |  | D9 | Resvd DP5C Norchard to PKD 2 | bn/r | ¦
D10 | ¦ | c/y |  | E10 | >>>> | <<<< | D10 |  | s/r | ¦
D11 | ¦ |  |  |  |  | E8 | D11 | b wire N12, a wire B12 |  | 1 pr cable to DP R
D12 | ¦ |  |  |  |  | E9 | D12 | b wire (HL)2 GC, a wire TW Q |  | 1 pr cable to DP R
D13 | ¦ |  |  |  |  | E1 | D13 | SPT at Sig Post |  | 1 pr cable to SPT
D14 | ¦
D15 | ¦
D16 | ¦
D17 | ¦
D18 | ¦
D19 | ¦
D20 | ¦
``
Note : This DP has been relabelled from DP5C

## Update 05 06 2019
| DP | 3T | Norchard |  |  |  | location | New Mills Crossing
E Sides : These records look back towards the exchange |  |  |  |  | Jumpers |  | D Sides : These records look on towards the distribution network
E side
cable from |  |  |  |  | E Cross | D Cross
DP3SA or | E side cable | E side cable | E side | E side | Conn. | Conn. | D side | D side | D side cable | Apparatus Details or
D sides | type | Colours | Circuit Details | Pair No. | to | to | Pair No. | Circuit Details | Colours | D side cable to sub DP
D1 | 20 pair cable | b/bk | SPT at Sig Post | E1 | D13 |  | D1 |  | b/w | 10 pair cable
D2 | from DP3SA | o/bk | NCD-PKD o/g 1 jnc 1 | E2 | >>>> | <<<< | D2 | NCD-PKD o/g 1 jnc 1 | o/w | to DP3TA
D3 | via joint | g/bk | NCD-PKD o/g 2 jnc 2 | E3 | >>>> | <<<< | D3 | NCD-PKD o/g 2 jnc 2 | g/w | ¦
D4 | on | bn/bk | PKD-NCD o/g 1 jnc 3 | E4 | >>>> | <<<< | D4 | PKD-NCD o/g 1 jnc 3 | bn/w | ¦
D5 | sound whistle | s/bk | PKD-NCD o/g 2 jnc 4 | E5 | >>>> | <<<< | D5 | PKD-NCD o/g 2 jnc 4 | s/w | ¦
D6 | board | b/r | Sig Box NCD to PKD Token | E6 | >>>> | <<<< | D6 | Sig Box NCD to PKD Token | b/r | ¦
D7 | ¦ | o/r | PKD alarm extension | E7 | >>>> | <<<< | D7 | PKD alarm extension | o/r | ¦
D8 | ¦ | g/r | b wire N12, a wire B12 | E8 | D8/D11 | E8 | D8 | b wire N12, a wire B12 | g/r | ¦
D9 | ¦ | bk/r | b wire (HL)2 GC, a wire TW Q | E9 | D12 |  | D9 |  | bn/r | ¦
D10 | ¦ | c/y | NCD-PKDN o/g 1 jun 5 Lev 7 | E10 | >>>> | <<<< | D10 | NCD-PKDN o/g 1 jun 5 Lev 7 | s/r | ¦
D11 | ¦ |  |  |  |  | E8 | D11 | b wire N12, a wire B12 | w/or | 2 pr drop wire cable to DP R
D12 | ¦ |  |  |  |  | E9 | D12 | b wire (HL)2 GC, a wire TW Q | bk/o
D13 | ¦ |  |  |  |  | E1 | D13 | SPT at Sig Post | o/w | 1 pr cable to SPT
D14 | ¦
D15 | ¦
D16 | ¦
D17 | ¦
D18 | ¦
D19 | ¦
D20 | ¦
``