## Sheet1
| DP | T | Norchard |  | sheet 1 |  | location | Norchard Signal Box | issue date | 2012-10-15
E Sides : These records look back towards the exchange |  |  |  |  | Jumpers |  | D Sides : These records look on towards the distribution network
E side
cable from |  |  |  |  | E Cross | D Cross
MDF or | E side cable | E side cable | E side | E side | Conn. | Conn. | D side | D side | D side cable | Apparatus Details or
D sides | type | Colours | Circuit Details | Pair No. | to | to | Pair No. | Circuit Details | Colours | D side cable to sub DP
D1 | 10 Pair | b/w | PA Press Button 529 Signal Box | E1 | [5 empty] | PA Press Button 529 Signal Box
D2 | Cable | o/w | Sig Post 13 SPT | E2 | [5 empty] | Line cct 5 Concentrator
D3 | from | g/w | TAC P | E3 | [5 empty] | TAC P
D4 | DP3R | bn/w | NSB Concentrator Alarm & Clock | E4 | [5 empty] | NSB Concentrator Alarm & Clock
D5 | ¦ | s/w | SPT at Sig Post | E5 | [5 empty] | Line cct 6 Concentrator
D6 | ¦ | b/r | (MF) WK | E6 | [5 empty] | (MF) WK
D7 | ¦ | o/r | (HL)2 GK | E7 | [5 empty] | (HL)2 GK
D8 | ¦ | g/r | b wire N12, a wire B12 | E8 | [5 empty] | b wire N12, a wire B12
D9 | ¦ | bn/r | b wire (HL)2 GC, a wire TW Q | E9 | [5 empty] | b wire (HL)2 GC, a wire TW Q
D10 | ¦ | s/r | Sig Box NCD to PKD Token | E10 | [5 empty] | Sig Box NCD to PKD Token