## Sheet1
| Norchard MDF Through Circuits |  |  |  | sheet 1 |  | issue date |  | 2015-03-19
No. | A end location | DP | DP pr | MDF | Circuit details | MDF | DP | DP pr | B end location
|  |  |  | bar & pr |  | bar & pr
1 | IDF |  |  |  | Office Clock | C19 | 14 | 19 | New Office
2 | IDF |  |  |  | New Booking Office Clock | C16 | 14 | 16 | New Booking Office
3 | IDF |  |  |  | Workshop Clock | B70 | 2 | 2 | Workshop
4 | IDF |  |  |  | Bolley's Box & Café Clock | B22 | 3C,3D | 03,10 | Bolleys Box/Café
5 | IDF |  |  |  | PKD alarm extension | b150 | 5H | 7 | jumpered to PKD DP
6 | IDF |  |  |  | NCD-PKD o/g 1 jnc 1 | B143 | 5H | 2 | jumpered to PKD DP
7 | IDF |  |  |  | NCD-PKD o/g 2 jnc 2 | B138 | 5H | 3 | jumpered to PKD DP
8 | IDF |  |  |  | PKD-NCD o/g 1 jnc 3 | B146 | 5H | 4 | jumpered to PKD DP
9 | IDF |  |  |  | PKD-NCD o/g 2 jnc 4 | B147 | 5H | 5 | jumpered to PKD DP
10 | IDF |  |  |  | 222 Bell | A30 | 17 | 10 | Shop Fire Alarm Equipment
11 | IDF |  |  |  | 222 Lamp | A31 | 17 | 11 | Shop Fire Alarm Equipment
12 | IDF |  |  |  | 222 Start | A32 | 17 | 12 | Shop Fire Alarm Equipment
13 | IDF |  |  |  | 222 Stop | A33 | 17 | 13 | Shop Fire Alarm Equipment
14 | IDF |  |  |  | NSB Concentrator Alarm & Clock | B135 | T | 4 | NSB Concentrator Alarm & Clock
15 | IDF |  |  |  | LJN Concentrator Alarm & Clock | B136 | 3P | 1 | LJN Concentrator Alarm & Clock
16 | IDF |  |  |  | 9681 Auxiliary Clock | B120 | 3C | 6 | 9681 Coach
17 | IDF |  |  |  | NCD-ASK o/g 1 jnc 1 | B163 | 13 | 1 | Asterisk Exchange
18 | IDF |  |  |  | NCD-ASK o/g 2 jnc 2 | B164 | 13 | 2 | Asterisk Exchange
19 | IDF |  |  |  | ASK-NCD o/g 1 jnc 3 | B165 | 13 | 3 | Asterisk Exchange
20 | IDF |  |  |  | ASK-NCD o/g 2 jnc 4 | B166 | 13 | 4 | Asterisk Exchange

## Sheet2
| Norchard MDF Thro Circuits |  |  | sheet 2 |  |  | 2015-03-19
No. | A end location | DP pr | MDF | Circuit details | MDF | DP pr | B end location
|  |  | bar & pr |  | bar & pr
21 | IDF |  |  | PA Direct Access Line 1 | B18 | DP3Q/2 | Hi Level Platform PA phone
22 | IDF |  |  | PA Direct Access Line 2 | B15 | DP3D/4 | Station Master PA phone
23 | IDF |  |  | PA Music Input | A29 | DP17/9 | Music Eqpt in Shop Office
24 | IDF |  |  | PA Direct Access Line 3 | B123 | intl | Museum PA Phone
25 | IDF |  |  | PA Press Button Line 2 | B17 | DP3Q/3 DP3D/5 | PA PB Hi Lev Platform/Station Master
26 | IDF |  |  | PA Press Button Line 3 | B124 | intl | PA Press Button Museum Phone
27 | IDF |  |  | PA Press Button Access 1 | B6 | DP9/6 | PA Press Button 519 Museum Office
28 | IDF |  |  | PA Spkrs Group 1 | B65 | DP2/5 | PA Spkrs Group 1 Workshop
29 | IDF |  |  | PA Spkrs Group 1 | B89/B90 | DP1/1,2 | PA Spkrs Group 1 S&W Room
30 | IDF |  |  | PA Spkrs Group 2 | B31/B34 | DP3D/2,3 | PA Spkrs Group 2 Station Area
31 | IDF |  |  | PA Spkrs Grp 2 | B85/B86 & C20 | DP1/5,6 DP14/20 | PA Spkrs Grp 2 O/s Shop & Book Office
32 | IDF |  |  | PA Press Button Access 5 | A22 | DP17/2 | PA Press Button 523 Shop Office
33 | IDF |  |  | PA Press Button Access 2 | B27 | DP3C/2 | PA Press Button 529 Signal Box
34 | IDF |  |  | LSB-NCD o/g1 jnc3 | B132 | DP3P/5 | Lydney Junction Signal Box
35 | IDF |  |  | PA Press Button Access 4 | C17 | DP14/17 | PA Press Button 505 New Booking
36 | IDF |  |  | PA Control to Bolleys Box | B23 | DP3D/7 | Bolleys Box
37 | IDF |  |  | LSB-NCD o/g2 jcn4 | B131 | DP3P/4 | Lydney Junction Signal Box
38 | IDF |  |  | PA Mic Control Wire | A34 | DP17/14 | Shop Office
39 | IDF |  |  | NCD-LSB o/g1 jnc1 | B19 | DP3P/7 | Lydney Junction Signal Box
40 | IDF |  |  | NCD-LSB o/g2 jnc2 | B40 | DP3P/9 | Lydney Junction Signal Box

## Sheet3
| Norchard MDF Thro Circuits |  |  | sheet 3 |  |  | 2018-06-15
No. | A end location | DP pr | MDF | Circuit details | MDF | DP pr | B end location
|  |  | bar & pr |  | bar & pr
41 | IDF |  |  | Clock Advance Key in Shop | A24 | DP17/4 | Clock Advance Key in Shop Office
42 | IDF |  |  | Clock Retard Key in Shop | A25 | DP17/5 | Clock Retard Key in Shop Office
43 | IDF |  |  | Auxiliary Clock Signing on Hut | C68 | DP15/2 | Auxiliary Clock Signing on Hut
44 | IDF |  |  | STARS Signals Alarm DP3N Bypass | B24 | DP3N/7 | STARS Signals Alarm DP3N Bypass
45 | IDF |  |  | STARS Signals Alarm DPW Town | B26 | DPW/8 | STARS Signals Alarm DPW Town
46 | IDF |  |  | Museum D Phone 12 V | C81 | DP13/1
47 | IDF |  |  | Museum D Phone 3 V | C82 | DP13/2
48 | IDF
49 | IDF
50 | IDF
51 | IDF
52 | IDF
53 | IDF
54 | IDF
55 | IDF
56 | IDF
57 | IDF
58 | IDF
59 | IDF
60 | IDF
modified by JB

## Sheet4
| Norchard MDF Thro Circuits |  |  | sheet 4 |  |  | 2016-05-06
No. | A end location | DP pr | MDF | Circuit details | MDF | DP pr | B end location
|  |  | bar & pr |  | bar & pr
61 | IDF
62 | IDF
63 | IDF
64 | IDF
65 | IDF
66 | IDF
67 | IDF
68 | IDF
69 | IDF PW Relay Set A end on back wall |  |  |  | B64 | DP2C pr 4 | Telecoms Office
70 | IDF PW Relay Set B end on back wall |  |  |  | B114 |  | Telecoms Office
71 | IDF
72 | IDF
73 | IDF
74 | IDF
75 | IDF
76 | IDF
77 | IDF
78 | IDF
79 | IDF
80 | IDF
Modified by PM

## Sheet5
| Norchard MDF Through Circuits |  |  |  | sheet 5 | Misc Thro Circuits |  |  |  | 2017-02-05
No. | A end location | DP | DP pr | MDF | Circuit details | MDF | DP | DP pr | B end location
|  |  |  | bar & pr |  | bar & pr
a
b
c
d
e | Museum Coin Box | direct |  | C26 | Museum Coin Box | B120 |  |  | Museum 10+50
f | Museum Door Alarm Sounder | 7 | 4 | B94 | Museum Door Alarm Sounder | B3 | 9 | 3 | Museum Door Alarm Sounder
g
h
I
j
k
l
m
n
o
p
q
r
s
t
u
v
w
x
y
z