## Sheet1
New Parkend MDF |  |  |  | issue date | 21/04/2018
|  |  |  | file name | mdfcables.xls
Cables terminating on the MDF
MDF Pairs | Cable size | DP / Cable | No of | Location | Remarks
Pairs
1 - 80 | 0.5 mm | VoIP Switch | 64 | Tie cable to Data Cabinet
1 Strip spare
91 - 100 | 0.5 mm | VoIP Switch |  | Misc Asterisk block
101 - 130 | 0.9 mm | DP 1 | 24 + 6 | Recess beyond signal
2 Strips spare
151 - 160 | 0.9 mm | DP 3 | 10 | Staff room
4 Strips spare
201 - 203 | 0.5 mm | Direct cable 1 | 3 | Test call sender 346 | BT 78A
204 - 206 | 0.5 mm | Direct cable 2 | 3 | New PKN 711 Above fuse cab | 741 Grey
207 - 209 | 0.5 mm | Direct cable 3 | 3 | 300 Jack on rear of rack socket V1
210 - 212 | 0.5 mm | Direct cable 4 | 3 | 301 Tele on rack socket V2
213 - 215 | 0.5 mm | Direct cable 5 | 3 | 311 Bench telephone 741 Grey | 741 Grey
216 - 218 | 0.5 mm | Direct cable 6 | 3 | Clock | BT 78A
219 - 221 | 0.5 mm | Direct cable 7 | 3 | Bench modular socket V3
222 - 224 | 0.5 mm | Direct cable 8 | 3 | Bench modular socket V4
225 - 227 | 0.5 mm | Direct cable 9 | 3 | Exchange line bench socket
228 - 230 | 0.5 mm | Direct cable 10 | 3 | Cabinet socket V5
231 - 233 | 0.5 mm | Direct cable 11 | 3 | Cabinet socket V6
234 - 236 | 0.5 mm | Direct cable 12 | 3 | Frame socket V7
237 - 239 | 0.5 mm | Direct cable 13 | 3 | Frame socket V8
240 - 242 | 0.5 mm | Direct cable 14 | 5 | 331 PKD Goods shed office | Use DP 4 in the short
243 - 245 | 0.5 mm | Direct cable 15 | 3 | BT Exchange line to paint office | term and cable here
246 - 248 | 0.5 mm | Direct cable 16 | 3 | Reserved Goods shed paint office
249 - 251 | 0.5 mm | Direct cable 17 | 3 | RJ11 Bench socket
252 - 254 | 0.5 mm | Direct cable 18 | 3 | RJ11 Data cabinet
261 - 270 |  |  |  | Clocks and misc strowger strip
261 - 266 | 0.5mm | Clock Circuits from relay set | 6 | Clocks and misc strowger strip
271 - 280 | 0.5mm | BT E/L Test strip |  | 01594 563015
281 - 300 | 0.5 mm | PKDN Tie Cable | 20 | PKD - PDN No1
301 - 320 | 0.5 mm | MDF / MDF Tie | 20 | Tie Old to New MDF Cable 1
321 - 340 | 0.5 mm | MDF / MDF Tie | 20 | Tie Old to New MDF Cable 2
prepared by PM